## Sheet1
U8来源账号 | 任务编号 | 新任务编号 | 销售类型 | 安装类型 | 任务状态 | 安装部门 | 制单人 | 发货日期 | 保修改周期月 | 销售代理店 | 销售负责人 | 客户编码 | 客户名称 | 省份名称 | 地级市 | 客户地址 | 装机联系人 | 装机联系人电话 | 型号 | 颜色 | 机器级别 | 产品线 | 主机编号 | 制造编号 | 任务发起日期 | 任务发起人 | 任务指派日期 | 任务指派人 | 任务完成时间 | 任务完成人 | 审核日期 | 审核人 | 核对日期 | 核对人 | 安装负责人编号 | 安装负责人姓名 | 安装单位1 | 安装单位2 | 邮政编码 | 用户负责人 | 联系电话 | 软件版本 | 系统版本信息 | SN2 | 验收日期 | 安装情况反馈 | 备注
001 | MH00002911 | MH00000001 |  | 主机安装 | 已核对 | 客服五部 | 陈彩丽 | 2015-02-26 00:00:00.000 | 12 | 南宁市信广易电子产品有限公司 | 谭滔 | 2190010 | 横县人民医院 | 广西 | 南宁 | 广西南宁市横县横州镇教育路141号洪德街 | 梁耀国 | 18577071717 | Prosound 4SV | 黑白 | 中低端 |  | SSD-Prosound4SVC | M00983LC | 2019-11-27 14:35:46.393 | chenyilian | 2019-12-04 14:40:50.067 | huangjiqun2 | 2019-12-04 16:06:18.550 | laijiasheng | 2019-12-05 14:09:37.000 | huyuandui | 2019-12-06 08:53:53.527 | houna | laijiasheng | 赖嘉声 | C2 | 广州 |  | 卢健 | 13321661554 | 1.2.0 | Current Time : 2019/04/28 16:29:59 Error Type : User Generated Log Model : HI VISION Preirus SoftwareVersion : V06-02 Step5 OSVersion : V10-00A ManualVersion : Not Installed Eub-us.exe Time-Stamp : 2014/06/25 20:13:16 SoftwareLanguage : English OSLanguage : English Video : PAL CrashDump : Big Option : EZU-AM6,EZU-TE5,EZU-DV3 SystemID : OK Hardware Version : Board Revision Flash KB(Panel) 1 KB(Alphanumeric) Connected KBIF 0, 4-4 RCIF Not Connected CAPTURE(Digital) 00020131 CAPTURE(Analog) Not Connected MB A/0 BIO A/2 08_00 PRB B/7 07_00 CW B/1 08_00 MTDRV Not Connected TX A/1 RX A/1 DBF B/5 08_01 CONT-B(Main) C/0 09_03, 08_01 CONT-B(Sub) FIRM:V2.3, MISCB:1, SBUS:105 DC/DC G CELL A/7 FIRM:EMH8-1.03.2:EB010200c, CF:02-05 DVIF C/0 00_04 TVIF C/0 00_03 POWER SUPPLY X *** Memory Statics *** Physical Memory (Used/Total) : 458 [MB] / 1975 [MB] Page File (Used/Total) : 348 [MB] / 3874 [MB] Virtual Memory (Used/Total) : 412 [MB] / 2047 [MB] |  | 2019-04-09 00:19:53.000 | 安装使用正常 | IPF-1201C(M03263LC)
001 | MH00004156 | MH00000002 |  | 主机安装 | 已核对 | 客服三部 | 高琪丽 | 2016-03-29 00:00:00.000 | 24 | 康达洲际医疗器械有限公司 | 蔡雯 | 2169171 | 温州龙湾区第一人民医院 | 浙江 | 温州 | 温州市龙湾区中央江路1号 | 金科长 | 13175691387 | HI VISION PREIRUS | 彩色 | 高端 |  | HI VISION PREIRUS | G310054116 | 2019-07-02 17:52:30.747 | lijiawen | 2019-07-10 09:30:57.827 | guchaohui2 | 2019-07-17 11:09:01.633 | wangshuai | 2019-08-22 10:21:19.843 | guchaohui2 | 2019-08-29 14:01:36.953 | houna | wangshuai | 王帅 | C1 | 温州 |  | 金科长 | 13175691387 | V06-02 STEP5 | Current Time : 2019/04/28 16:29:59 'Error Type : User Generated Log Model : HI VISION Preirus SoftwareVersion : V06-02 Step5 OSVersion : V10-00A ManualVersion : Not Installed Eub-us.exe Time-Stamp : 2014/06/25 20:13:16 SoftwareLanguage : English OSLanguage : English Video : PAL CrashDump : Big Option : EZU-AM6,EZU-TE5,EZU-DV3 SystemID : OK Hardware Version : Board Revision Flash KB(Panel) 1 KB(Alphanumeric) Connected KBIF 0, 4-4 RCIF Not Connected CAPTURE(Digital) 00020131 CAPTURE(Analog) Not Connected MB A/0 BIO A/2 08_00 PRB B/7 07_00 CW B/1 08_00 MTDRV Not Connected TX A/1 RX A/1 DBF B/5 08_01 CONT-B(Main) C/0 09_03, 08_01 CONT-B(Sub) FIRM:V2.3, MISCB:1, SBUS:105 DC/DC G CELL A/7 FIRM:EMH8-1.03.2:EB010200c, CF:02-05 DVIF C/0 00_04 TVIF C/0 00_03 POWER SUPPLY X *** Memory Statics *** Physical Memory (Used/Total) : 458 [MB] / 1975 [MB] Page File (Used/Total) : 348 [MB] / 3874 [MB] Virtual Memory (Used/Total) : 412 [MB] / 2047 [MB] |  | 2019-04-28 10:56:36.000 | 安装完成 | EZU-MT28-S1(G310207915) EZU-EK28(G320185815) EZU-ST8(G320562715) EUP-C715（G3W1014215） EUP-L74M(G3W0523715) EUP-S70(G3W1267915)
001 | MH00004157 | MH00000003 |  | 主机安装 | 已核对 | 客服三部 | 高琪丽 | 2016-04-27 00:00:00.000 | 12 | 康达洲际医疗器械有限公司 | 蔡雯 | 2169171 | 温州龙湾区第一人民医院 | 浙江 | 温州 | 温州市龙湾区中央江路1号 | 金科长 | 13175691387 | HI VISION PREIRUS | 彩色 | 高端 |  | HI VISION PREIRUS | G310044916 | 2019-07-02 17:49:49.100 | lijiawen | 2019-07-10 09:30:33.283 | guchaohui2 | 2019-07-17 11:24:47.950 | wangshuai | 2019-08-22 10:20:55.060 | guchaohui2 | 2019-08-29 14:01:14.057 | houna | wangshuai | 王帅 | C1 | 温州 |  | 金科长 | 13175691387 | V06-02 STEP5 | test |  | 2019-04-28 11:09:36.000 | 安装完成 | EZU-MT28-S1(G310208915) EZU-ST8(G320562915) EZU-EK28(G320413015) EUP-C715(G3W1014015) EUP-L74M(G3W0523515) EUP-S70(G3W1239115)